## Slide 1: Lecture Review

## Slide 2: Process Design of Heat Exchanger
Fouling reduces the effective heat transfer
KERN method:
  #1 thermodynamical properties of hot and cold fluids (caloric temp / arithmetic mean temp)
  #2 Energy balance, find the heat duty
  #3 assume

## Slide 3: Applied Thermal Engineering Development and validation of a condenser three zones model
INPUT:
  Air supply temperature
  Air mass flow rate
  Refrigerant supply temperature (or Overheating)
  Exhaust subcooling (->superheat for evap model)
  Refrigerant mass flow rate
OUTPUT:
  Pressures/temperatures in each zone
  Corresponding heat flows
  Geometrical repartition
  Pressure drop on air side
One spec. heat transfer coeff. for each zone
Deterministic vs theoretical-experimental model
Deterministic
  Heat exchanger geometry is known
  Identify heat transfer / friction factor correlations
Theoretical-experimental
  Unknown geometry
  Performance is known
Assumptions:
  Pure counterflow/crossflow/combination
  Fluids homogenously distributed
  Lubricant doesn´t affect heat transfer coeff

## Slide 4: Model

## Slide 5: Equations
REFR
OIL
AIR

## Slide 6: Equations

## Slide 7: ACHP – Graphical User Interface
INPUT:
  Working Fluid (R290)
  Superheat (5K)
  Charge (3x150g)
  Fin geometry
  Tube geometry
  Compressor polynomials
OUTPUT:

## Slide 8: Python Modeling