## Slide 1
Status Review
07.12.2017

## Slide 2: Last week:
Testing according to the standards not possible
  Air velocity gradient over the outlet
  Chamber regulation bad with lower air velocity
  No speed at all at the lowest point
Decision: Further tests to be set with 30pct/2fans (like in previous tests)
  Air velocity slightly higher but with a certain velocity at the bottom measuring point
Solder out one condenser and check for oil before flushing
Focus on programming and modeling with Python and EES

## Slide 3: IDC150 analysis with Python
Test Packages Temperatures

## Slide 4: IDC150 analysis with Python
Test Packages Temperatures

## Slide 5: IDC150 analysis with Python
Log pH diagram plot in 2 phase region

## Slide 6: IDC150 analysis with Python
T_cond and T_evap

## Slide 7: IDC150 analysis with Python
COP

## Slide 8: To-Do: