## Slide 1
Status Review
18.12.2017

## Slide 2: Last week:
Tried to build a mathematical model for coil arrangement
  According to HEX-Script from RWTH and VDI-Heat Atlas
Found a method to define a test plan for practical testing and evaluation
  Design of Experiment

## Slide 3: Pressure fall -> Fall of evaporating temp.
u from mass flow rate, diameter and density (1)
VDI S904
P1
Tsat,1
Cp
P2
Tsat,2

## Slide 4: Cell method
Heat capacity flow rate ratio:
 Air
 Refr
 Thermal conductivity
kA(material), cP(P,T)  R1 , NTU  P  Tout  Q

## Slide 5: -Diagrams

## Slide 6: Determination of single performance characterisation
Area of the heat exchanger  constant
Ratio of the heat capacity flow rates  constant when series connection
Heat transfer coefficient () (uair and uref)
Assumptions:
  Supplytemperatures are constant
  Mass flow rates constant
  Geometry and heat transfer constant
  Heat capacity flow rate for both fluids constant ()
  Kappa = 0.5 (to get comparable results)

## Slide 7: Air side
 Alpha for Convection

## Slide 8: To-Do:
Connect this partial models
Impact of boiling ( alpha)
Impact of phase ( moving boundary or discretization and phase check)
Impact of fins?