## Slide 1
Status Review
29.01.2018

## Slide 2: Last week:
Further work on Python and modelling script
Solved EES-related problems  Assume good guess values/boundaries
Changed pressure drop equations  very good outputs
Refilled IDC150  test with demand defrost during the weekend

## Slide 3: Coil arrangements
Evaporator Lidl-Design
Counterflow but performs like parallel flow
Evaporator Version 2
Mix of counterflow and parallelflow  bigger ΔT
Heigth
Temperature
Heigth
Temperature
ΔT
ΔT

## Slide 4: Problem in evaporator model
Cooling capacity too small  no Superheat, ΔTair small
Heigth
Temperature
ΔT
 ΔTair q
C1= *cp,refr
C2 = air*cp,air,in
NTU = (UA/C1)
(for boiling)
qmax=C1* ΔT
q= qmax*
UA ~ 14, NTU ~1.1, =0.67, q ~ 160 W
q has to be twice as big
ΔTair

## Slide 5: To-Do:
Change evaporator