## Comparison Evap - Cond - Comp
| Conditions | T [°C] | T [K] | p [bar] | p [Pa] | % | Oil Volume
1. Set conditions | Evaporator | -10 | 263.15 | 3.4512 | 345120.2571 |  | v= | 470 | ml
2. Use solver | SH | 10 | 10 |  |  |  | Refrigerant Mass
2.1. on press eqn | Condensor | 35 | 308.15 | 12.1751 | 1217509.4907 |  | m= | 150 | g
2.2. on visc eqn | SC | 0 | 0
3. you don’t have to use Solver | Oil Temp (Comp) | 30 | 303.15 | 3.4512 | 345120.2571
if you just change the distribution | % Oil in Evaporator |  |  |  |  | 10%
| % Oil in Condensor |  |  |  |  | 10%
| % Oil in Compressor |  |  |  |  | 80%
| HATCOL4467 | [12 empty] | HATCOL4467 |  |  | 3MAF
| Evaporator | USE SOLVER | [5 empty] | USE SOLVER |  |  |  |  | coeff# | Kinematic Visc | Press | Density | Kinematic Visc | Press | Density
| μ | c | visc eqn | ω | T(K) | T(°C) | P (bar) | Log(P)= | pres eqn | visc (diff)2 | P (diff)2 | ρ= | a1 | 19.3145 | 5.4186 | 1.2115 | 21.2457 | 5.142 | 1.2475
| 3.7157 | 0.39554 | 0.39554 | 0.35361 | 263.15 | -10 | 3.4512 | 0.53797 | 0.53946 | 1.7993e-13 | 2.2123e-06 | 0.78755 | a2 | -3.1118 | -1539.69 | -0.00083845 | -3.4821 | -1395.63 | -0.00109
| Condensor | USE SOLVER | [5 empty] | USE SOLVER |  |  |  |  | a3 | 0 | 68731.9 | 1.8236e-07 | 0 | 49374.2 | 5.62e-07
| μ | Ln(Ln(μ+0.7+e^(-μ)Ko(μ+1.244068))) | visc eqn | ω | T(K) | T(°C) | P (bar) | Log(P)= | pres eqn | visc (diff)2 | P (diff)2 | ρ= | a4 | 5.5115 | 1.8589 | 0.045603 | 6.3581 | 1.6598 | -0.943
| 0.88552 | -0.72177 | -0.72177 | 0.37065 | 308.15 | 35 | 12.1751 | 1.0855 | 1.0855 | 5.6801e-14 | 1.0771e-13 | 0.7343 | a5 | -1.7502 | -892.732 | -0.0046536 | -2.0716 | -790.24 | 0.00202
| Compressor | USE SOLVER | [5 empty] | USE SOLVER |  |  |  |  | a6 | 0 | 99709.4 | 6.9774e-06 | 0 | 87022.7 | -4.16e-06
| μ | Ln(Ln(μ+0.7+e^(-μ)Ko(μ+1.244068))) | visc eqn | ω | T(K) | T(°C) | P (bar) | Log(P)= | pres eqn | visc (diff)2 | P (diff)2 | ρ= | a7 | 113.4 | -0.018774 | -1.3231 | 3.3318 | -0.047914 | 1.5037
| 38.6588 | 1.3009 | 1.3009 | 0.049722 | 303.15 | 30 | 3.4512 | 0.53797 | 0.58057 | 8.9795e-13 | 0.001815 | 0.9387 | a8 | -20.4606 | -141.491 | 0.011045 | -0.31684 | -126.464 | -0.00833
[13 empty] | a9 | 0 | 17125.9 | -1.9387e-05 | 0 | 15314.3 | 1.35e-05
| 3MAF | [11 empty] | R290
| Evaporator | USE SOLVER | [5 empty] | USE SOLVER |  |  |  |  | Temp [°C] | Density [kg/m³] | [g/ml]
| μ | Ln(Ln(μ+0.7+e^(-μ)Ko(μ+1.244068))) | visc eqn | ω | T(K) | T(°C) | P (bar) | Log(P)= | pres eqn | visc (diff)2 | P (diff)2 | ρ= | -7 | 0.1196 | 0.0001196
| 1.9546 | -0.022501 | -0.022501 | 0.41003 | 263.15 | -10 | 3.4512 | 0.53797 | 0.53891 | 3.9701e-14 | 8.7464e-07 | 0.75419 | 30 |  | 0
| Condensor | USE SOLVER | [5 empty] | USE SOLVER |  |  |  |  | -5 | 0.112 | 0.000112
| μ | Ln(Ln(μ+0.7+e^(-μ)Ko(μ+1.244068))) | visc eqn | ω | T(K) | T(°C) | P (bar) | Log(P)= | pres eqn | visc (diff)2 | P (diff)2 | ρ=
| 0.86799 | -0.74226 | -0.74226 | 0.41649 | 308.15 | 35 | 12.1751 | 1.0855 | 1.0855 | 5.5099e-13 | 3.7365e-14 | 0.70488 | density r290= | 0.4824 | (average from 20°C to 40°C)
| Compressor | USE SOLVER | [5 empty] | USE SOLVER
| μ | Ln(Ln(μ+0.7+e^(-μ)Ko(μ+1.244068))) | visc eqn | ω | T(K) | T(°C) | P (bar) | Log(P)= | pres eqn | visc (diff)2 | P (diff)2 | ρ=
| 17.7333 | 1.0696 | 1.0696 | 0.051542 | 303.15 | 30 | 3.4512 | 0.53797 | 0.58057 | 5.4128e-13 | 0.0018151 | 0.93252
Oil location
| Refrigerant / Oil | Properties | 100% Oil in Evaporator | 100% Oil in Compressor | 100% Oil in Condensor | x% Oil in Evap | x% Oil in Comp | x% Oil in Comp | x% Oil in Evap - x% Oil in Comp
Assumption: | R290 w/ Hatcol4467 | Viscosity (cSt) | 3.7157 | 38.6588 | 0.88552
Refrigerant solved in Oil has the same density as the oil |  | Density (g/cm³) | 0.78755 | 0.9387 | 0.7343
No pressure drop |  | Solubility (%) | 35.36% | 4.972% | 37.06%
Incompressible |  | Refrigerant in oil (g) | 130.8887 | 21.9368 | 127.9179 | 13.0889 | 17.5494 | 12.7918 | 43.4301
Same speed everywhere |  | Refrigerant in oil (%) | 87.26% | 14.62% | 85.28% | 8.726% | 11.7% | 8.528% | 28.95%
| R290 w/ 3MAF | Viscosity (cSt) | 1.9546 | 17.7333 | 0.86799
|  | Density (g/cm³) | 0.75419 | 0.93252 | 0.70488
|  | Solubility (%) | 41% | 5.154% | 41.65%
|  | Refrigerant in oil (g) | 145.3412 | 22.59 | 137.9812 | 14.5341 | 18.072 | 13.7981 | 46.4043
|  | Refrigerant in oil (%) | 96.89% | 15.06% | 91.99% | 9.689% | 12.05% | 9.199% | 30.94%
|  | DF Solubility 3MAF VS Hatcol4467 | 15.95% | 3.66% | 12.37%
|  | DF Qty of refrigerant 3MAF VS Hatcol4467 (g) | 14.4524 | 0.65321 | 10.0634 | 1.4452 | 0.52257 | 1.0063 | 2.9742