## Slide 1: Air flow (Tests 0-37 & 45-47)

## Slide 2: Air flow (Tests 38-44  5 fans – 10pct )

## Slide 3: Test 40
T_cond: 35°C
T_defr: 4h
Fan Settings: 5 fans 10pct
(closed ceiling)

## Slide 4: Previous testing (Test 40)
after changing back to HATCOL
Evaporating temperature looked like this:

## Slide 5
Product temperature:

## Slide 6
Front:
Back:

## Slide 7: Possible Reasons
Too much oil in the system? (Oil stuck in condenser? Mixture HATCOL-3MAF?)
Lower air velocity  Chamber regulation is worse
  higher temperature gradient in height
  higher humidity oscillating  more dehumidifying?
More air streaming in front of the cabinet more warm air is sucked in by the air curtain?

## Slide 8: Test 47
T_cond: 35°C
T_defr: 4h
Fan Settings: 2 fans 25pct
(ceiling opened again)

## Slide 9: Latest Test (Test 47)
Evaporating temperature:

## Slide 10
Product temperature:

## Slide 11
Front:
Back:

## Slide 12: Comparison: Test 47 – Test 24
Almost good! Next results on Tuesday!